Massachusetts DPU 11-75: Distributed Generation Interconnection Standards

Draft Outline (With Material) Final Report from DG Working Group to Department

Drafted by Dr. Jonathan Raab, Raab Associates (DG WG Facilitator)

REVISED August 24, 2012

Cover Letter from Facilitator

List of Organizations (Representative/Alternates/Others) Endorsing the Report

Section 1: Introduction and Working Group Process Overview

Section 2:  Online Application and Information Tracking System

The Working Group recommends issuing an RFP for a third party system administrator that will centralize and manage the online application and tracking system, including syncing it with each of the utilities’ in-house systems.  Below is an outline of the purpose, inputs, outputs, schedule, and overall strategy agreed to by the Working Group.

CATS Proposal Detailed Discussion Notes

- Purpose

  - Centralized Application process

    - Pre-application (report for Expedited and Standard tracks)

    - Application--Centralized/Standard application process for all 3 tracks (update interconnections applications)

  - Tracking system (transparency)

    - Individual Applications--Utilities and applicants to know where they are in process and deadlines on a particular application through construction (time stamps on steps been thru)

    - Aggregate Applications--To be able to monitor in aggregate timeline compliance (customer & utility) for everyone including regulators

  - Prospecting—Allow developers to see level of activity on specific feeders

- Inputs

  - Customer: Completed application

    - (may require training and minimum knowledge certification)

    - Pre-application Report required information (for Expedited and Standard tracks)

    - Basic information about application (for all Tracks but differs by Track)

    - Automated Application Completeness Check (with checklist)

  - Utility

    - Track applicant is in (Standard, Expedited, Simplified)

    - Basic information about application (screens passed, construction timelines/milestones,

    - Communications to customers (where applicant is in process, and time stamps)

    - Point of contact (by stage) at utility and customer

- Outputs

  - Completed pre-application and application back to utility

  - Chess clock (Utility and Applicant)

  - ID step where are  in interconnection review process

  - Show Deadlines

  - Ability to sort by feeder (allow developers to sort by feeder to see activity there) and other aggregated sorts

- Schedule (From after DPU Approves Concept)

  - Release (who—MA CEC, DOER, or utilities?) RFP—1 Month

  - Consultant Selected—1 Month

  - DPU Approval (Is this really needed?)—1 Month

  - Consultant work—3 Months)

    - Design application and tracking processes

    - Design interface strategy with each utility system (both for utility to update central record, and for utilities to get completed application from central system)

    - Design access and security protocols

    - Phasing in strategy

    - On-going cost to run systems

  - DPU Approval (Is this really needed?)—1 Month

  - Commence Use of System (2-3 Months?)

    - New applications

    - Existing applications (see #5 below)

- Strategy for Dealing w/Projects Already in Queue

  - Use data from monthly reporting spreadsheet for initial population (perhaps do stale project purge first)

  - When utilities next touch application, provide time and step related issue

- Cost Recovery

  - Design and start up thru ACP

  - Ongoing costs by applicants/hosts

- Questions:

  - Can we use net meter assurance administrator?

- Costs:

  - On-going costs covered by new application fees, no retroactive assessment

  - Design and start-up costs funded by ACP

- Other

  - Training?

  - What’s public info, and what’s only accessible to applicant/utility?

Section 3: Application Review Tracks (Simplified, Expedited, Standard, Complex Projects) and Revised Screens

- Simplified Track/Screen

The Working Group recommends changing one of the existing screens (Is the aggregate generating Facility capacity on the circuit less than 7.5% of circuit annual peak load?) to potentially allow more DG thru the simplified by track, as follows: Is the aggregate generating Facility capacity 15% of feeder/circuit and, if available, line segment?

- Simplified Spot Network Track/Screens

Utilities are studying area networks to develop the data needed to come up with appropriate/safe screens for area networks. For now, the Working Group recommends that the simplified spot network screens also apply to area networks (if other screens are passed) as long as applicant has interval meter data for an appropriate time period, and where available minimum load data, for area networks. The Working Group further recommends removing the requirement that the system be less than or equal to 15 kw, as long as the less than 1/15 of Customer’s minimum load is met.  The Working Group also agreed to develop language for the Report about continuing to monitor and track IEEE 1547 and national best practices and to study and experiment in Massachusetts on area networks (e.g., NSTAR pilot project).  They also agreed to incorporate networks and IEEE handling of networks into utility standardized guidelines (e.g., National Grid (ESB 756-C) guidelines/standards.

- Expedited Track/Screens

The Working Group recommends adjusting the Expedited track screens to allow more applications to remain in the Expedited track instead of going through the longer Standard track.  Specifically the Working Group recommends adding three Supplemental Review screens to the interconnection process:

- Penetration Test

- Power Quality and Voltage Tests

- Safety and Reliability Tests

The Working Group agrees to define and implement the Power Quality and Voltage Tests and Safety and Reliability Tests screens as was done in California, and shown below:

For the Penetration Test, the Working Group is still discussing two options, A) the California/NREL approach based on whether the aggregate Generating Facility capacity on the Line Section is less than 100% of the minimum load for all the line sections bounded by the automatic sectionalizing devices upstream of the Generating Facility; or B) the Sandia Labs 67% minimum load screen.

The Working Group also recommends raising the Supplemental Review time allowed within the Expedited track from 10 hours to 30 hours.  Thus projects would be allowed to stay in the Expedited track and not sent to the Standard track if more than 10 hours of engineering review time is required. (Note: Another option under discussion is to just allow whatever time is necessary to conduct the Supplemental Review w/o booting applicant to Standard Review.)

- Standard and Complex Projects Tracks/Screens

The Utilities recommended creating a 4th Track for Complex Projects that would otherwise be in the Standard Track.  The conditions that could cause an application to be placed in a Complex Project track include:

- Stiffness factor less than 100. (Minor concern to extreme concern)

- Many applicants stacked up prior to the application under consideration, studied or not.

- Light load, reverse flow issues through substation transformers and voltage regulators

- High voltage rise (from substation to DG POI) during light load conditions.

- High voltage flicker greater than 2% maximum allowable

- Applicant's POI requires crossing transmission easements

- Applicant's interconnection is 5 MW or greater requiring ISO-NE study review and involvement (will require full interconnection study to be submitted to ISO)

- Line upgrades required (reconductoring, 4kV conversions, extension of 3 phase to single phase area, utility system coordination study required, etc.).

The utilities are also proposing to have 75 business days to do the Impact Study and another 75 days to do the Detailed Study.—See Timeline Section)

Section 4: Pre-Application Report Requirements

The Working Group recommends adding a new required Pre-Application Report for all applicants going through the Expedited and Standard Tracks.  The intent of this Report is to provide applicants with some basic information about the location at which they are potentially interested in connecting to the distribution system, so that they can get an initial sense of whether the particular location is practical for their project.  The pre-application report could also help applicants prioritize among various locations and possible distributed generation configurations they are considering.  The Working Group believes that this could minimize the number of speculative applications, and increase the likelihood of viable applications.

The pre-application report request would be handled through the proposed new statewide online application and tracking system and then routed to the appropriate utility.  Utilities would have 10 business days to provide the pre-application report.  There would be no fee/a fee of $X for this service.  Applicants would not be able to submit their actual application in the Expedited and Standard Tracks until a pre-application report is received.

Each Pre-Application Report will carry the following disclaimer: “Be aware that this Report is simply a snapshot in time and is non-binding, system conditions can and do change frequently.”

Applicants would need to provide the following information to the utility through the statewide online application and tracking system:

- Project Contact Information

Name:

Address:

Phone:

Email:

- Location (street address with nearby cross streets, town):

- Generation Type: (solar, wind, CHP)

- Size (AC kWs):

- Single or three phase generator  configuration:

- Stand-alone (no on-site load – Y or N):

- If existing service include customer account number, site minimum and maximum (if available) current or proposed electric loads in kWs

- New service needed?

The “Pre-Application Report” provided by the utility will include the following.

- Circuit voltage:

- Circuit name:

- Voltage at proposed location:

- Single or three phase available near site:

- If single phase – distance from three phase service:

- Aggregate connected  DG (kw) on circuit:

- Submitted complete applications of DG (kw) on circuit:

- Area network, or spot network or radial:

- Other potential constraints or critical items that may jeopardize project

Note: 10-17 to be deleted after WG final consideration about whether any additional item should be in the Basic Report

- Distance from nearest sub-station

- If nearest feeder is ‘full of DG’, closest available feeder with capacity

- Determination of likely project track

- Peak load on proposed feeder

- Electrical dependence on other proposed projects

- Potential infrastructure upgrade information (see table below)

- Snap-shot within ¼ mile (or otherwise identify feeders within ¼ mile)

- Whether their application will likely trigger (or require to be part of) group (cluster) study

Section 5: Application and Construction Timelines

- Application Timelines

The utility members of the Working Group propose to meet the existing tariff timelines, with two exceptions:

Currently there only two proposed timeline change under consideration:

- Adding a 4th track for Complex Projects with 75 days for the Impact Study and 75 days for the Detailed Study (illustrated below)

- Adding Required Group (Cluster) Study for feeders that are “exhausted” or “near-exhausted” and the utility initiates a Group/Cluster study.  Timing would be same as for Complex Projects or by mutual agreement

- Construction Timelines

The Working Group recommends that there should continue to be clear construction timelines w/milestones included in the Interconnection Agreement.  They further recommend the timelines be tracked using a chess clock just as with the interconnection agreement steps.  While the Working Group recognizes that there are many reasons that construction schedules may slip on both the applicant and utility side, milestones should only be missed for reasonable cause.

If a utility misses a milestone it will inform both the applicant and the DPU including the reason and a proposed new schedule.  If the customer misses a milestone, the utility will follow the same protocols for Customer Adherence to time schedules described below in Section 7.

The Working Group also recommends that construction time guidelines for different upgrade costs and timeframes be include in the tariff or referenced document in tariff, and periodically updated, with stakeholder   input and review (see below for illustrative example).

- Force Majeure

The Working Group recommends that for force majeure (e.g., major storms) that the chess clock would be stopped for that period (on both the utility and customer side).

Section 6: Multiple Applications on Single Feeders (Cluster Studies)

(Note: Should this section be included in Track, Timeline, and Tariff sections—or remain stand alone section?)

The Working Group recommends that that a new Group (or Cluster) Study process should be required on feeders where capacity is “exhausted” (or near exhausted), or where new express feeder is needed, or both.

  - Utility decides when application triggers exhausted feeder, and that opens up group study window

  - Group study process is required for all applicants wishing to interconnect on the feeder

  - Open enrollment window for 3 months

  - Should open cluster be advertised??

  - 75 days for impact study/75 days for detailed study—or mutually agreed to timelines

  - Follow cost allocation of study and upgrade costs as outlined (below)

- Other Group Study Options

  - Optional in other circumstances if applicants come together and propose to utility

Other Comments from Technical Subcommittee:

- If can release name/contact info.  in blanket fashion or have customers check off box to release, would facilitate applicants finding each other for #2 above

- Need criteria to help guide utilities where else to potentially offer optional clustering

- Once cluster initiated, utility should follow same guidelines for cost allocation etc.

- Should it also be retroactive to help move things along after the initial “purge”?

The Working Group recommends that group (cluster) studies and upgrade costs should be allocated as follows:

- Study Cost Allocation—by MW

- Upgrade Cost Allocation

  - Lines—Share common segments pro rata by MW, unique segments covered by that DG provider

  - Other equipment—Share common upgrades pro rata by MW, unique upgrades by that DG provider

  - If one or more DG applicant drops out, then remaining applicant share any additional restudies required

  - If new DG added to circuit within 5 years, need to share costs from prior DG (consistent w/utility line extension policy) (some exemptions—e.g., Simplified?)

Section 7: Adherence to Timelines (Customer-side: Stale Project Management; Utility-side Assurances and Enforcement)

Customer Adherence (aka Stale Project Management)

The Working Group recognizes the need to remove stale projects that have exceeded their timelines to provide utilities with requested information or decisions to proceed.  Stale project can hold up other projects behind them in a queue on a particular feeder.  However, even when there is not a queue, stale projects still require utility tracking and periodic attention, and also can give the misconception that many projects are actively awaiting interconnection.  For all these reasons, the Working Group proposes a process that includes an initial withdrawal of stale projects, as well as an on-going customer timeline compliance process to deal with applicants who miss their deadlines, as outlined below.

- Initial Withdrawal

  - For all applicants where the utility is waiting to hear from the customer at any level at any stage (in application and construction process) for more than 30 business days

  - Utility contacts applicant (email and letter and/or phone if no email address)—customer of record, alternative contact, and a most recent point of contact

  - “Haven’t heard from you in over 30 business days, if don’t hear from you in 30 business days, we will consider your application withdrawn (and if you want to continue at a later date, you will need to reapply).”  Any fees not refunded.

  - (Indicate removal being required by DPU)

  - Utilities already have the authority in the original tariff—“may” remove from queue

- On-Going Customer Timeline Compliance (for all projects whether on queue or not)

  - Notice (email and letter and/or phone if no email address) that deadline elapsed, and given one extension before considered withdrawn

  - Extend initial deadlines at each stage equal to timeline/deadline of that stage ( w/o cause)

  - Utilities need to keep track of extension dates

  - Allow additional extensions with cause (possibly as per net metering assurance language—differentiate between public and private applicants)

  - Projects then considered withdrawn, need to reapply

- Timeline (after DPU approval)

  - Initial Withdrawal—Begin right after DPU approval (2-3 months to complete)

  - On-Going Customer Timeline Compliance—Concurrently w/Initial withdrawl or after/sequential?

LOOK At NET METERING ASSURANCE LANGUAGE TO SATISFY D, AND/OR REPLACE B TOO

SHOULD APPLICANTS BE REQUIRED TO PAY $ EVERY STEP OF THE WAY (EG CA RULE 21 SETTLEMENT) TO ENHANCE CUSTOMER ADHERENCE

Utility Adherence (aka Assurance and Enforcement) to Timelines

The Working Group has discussed several principles regarding utility assurance and enforcement of timelines, and 4 different proposals are under discussion (these are not necessarily mutually exclusive):

Principles for consideration:

  - Let utilities also be allowed to have timelines slip in certain clear circumstances for good cause

  - Focus on enforcement mechanisms first that have both incentives/offsets and disincentives, rather than just disincentives

  - Need a functional chess clock to base enforcement on

- Utility Proposal: If miss deadline, at customer’s request utility send letter to customer  and DPU about reasons for slip and new schedule

- Reid—Include DG in Service Quality Metric for meeting Expedited and Standard Timelines (Proposal below and see origin memo):

# Metric Definition and Calculation

The new metric would be called the Distributed Generation Application Days Index (DGADI), and would be calculated using the following formula:

Where:

= 	Number of Expedited applications received in the calendar year

= 	Number of Standard applications received in the calendar year

= 	Average number of days between “Date Application Deemed Complete” and “Date Interconnection Agreement Sent” for projects in the Expedited process.

= 	Average number of days between “Date Application Deemed Complete” and “Date Interconnection Agreement Sent” for projects in the Standard process.

# Integration with Existing Service Quality Plans

It is intended that a DG interconnection-related metric would function identically to other Service Quality metrics, as defined by the DPU.  This includes the calculations of benchmarks, penalties, and offsets.  Because those calculations are defined in each utilities Service Quality Plan, they will not be presented here.

The current Service Quality Plans for each utility allow the utility to be fined for a maximum of 2.5% of the company’s annual transmission and distribution revenue.  Penalties and offsets for all Service Quality metrics are then allocated within this 2.5%.  The table below shows the current allocation versus the proposed allocation.

| SQ Metrics | Existing | Proposed |
| --- | --- | --- |
| Measure Penalty | Percentage | Percentage |
| SAIDI | 22.50% | 22.50% |
| SAIFI | 22.50% | 22.50% |
| CKAIDI * | 11.25% | 11.25% |
| CKAIFI * | 11.25% | 11.25% |
| Telephone Answering (20 Sec) | 12.50% | 10.00% |
| Service Appointments | 12.50% | 10.00% |
| Lost Work Time Rate | 10.00% | 10.00% |
| On-cycle Meter Reads | 10.00% | 10.00% |
| Consumer Division Cases | 5.00% | 5.00% |
| Billing Adjustments | 5.00% | 5.00% |
| DG Application Days | 0.00% | 5.00% |
| TOTAL | 100.00% | 100.00% |
| * Only if the Company is not subject to SAIDI or SAIFI penalty in a given year. |

  - Comments From Group Discussion

    - Data set used in analysis doesn’t include projects still in queue

    - Should this be part of existing service quality metrics, or a stand-alone service quality metric?

    - Existing service quality metrics designed more for all ratepayers than narrow groups of customers

- DOER drafted approach for discussion

- Enforcement

  - Project Basis

    - Upon failure to meet the timelines, the Utility shall promptly refund the application fee and study costs to the customer.

    - For each full 20 business days that the Utility remains in breach of the timelines, the Utility shall pay $50/kW to the customer in compensatory damages.

  - Annual Review

    - If greater than 10% of projects exceed timelines, the Utility shall pay a penalty of $50/kW of projects exceeding timelines.

    - Annual Review penalties shall be paid to the Massachusetts Clean Energy Council (“MassCEC”). Such funds shall be held in an account separate from other accounts of the MassCEC. DOER shall oversee the use of Annual Review penalty funds by the MassCEC, so as to address interconnection streamlining, including but not limited to staffing assistance.

  - No Ratepayer Recovery

- The payments described under this section shall not be recoverable through ratepayers.

Comments on DOER Propoasl:

Don’t have chess-clock, so no great baseline information to base SQ % on.

DOER open to adding potential for credits/incentives for good performance.

Allow delay for good cause

Does annual include projects that drop out?  Need to figure out which projects to count (only those who make it thru the process?)

Compensatory damages vs. liquidated damages?

Should it be 2-part, or one or the other?

Need to determine whether good cause for missing timeline before refund to customer

Let clocks stop for force majeure (storms)

- DG Proposal--Consider having approved vendors to do studies if utilities can’t meet timelines

Section 8:  Fees (Application, Study, O&M? Including Cluster Study sharing etc.)

Required Pre-Application Report Fees (Expedited/Standard Track Only)

The Working Group recommends that there be no fee/fee of $X for Pre-Application Report

Simplified Track

The Working Group assumes that the current time to review Simplified applications (now in the 4-8 hour range) will be reduced somewhat with the commencement of a Statewide Application and Tracking system, and recommends that there continue to not be an application fee for applications in the Simplified track. (Note: Does not appear to be a lot of support for a fee here except for one utility and possibly the AG.)

Expedited, Standard, and Possible 4th Track Fees

No alternative fees proposed.  Utilities will provide actual costs (range) to Working Group to consider whether pre-existing fees need revamping.

Group (Cluster) Study and Upgrade Cost Allocation (repeated from Section 6)

The Working Group recommends that the cost allocation for study and upgrade costs when a group (cluster) study is either required by the utility or a voluntary group (cluster) is established should be as follows:

- Study Cost Allocation—by MW

- Upgrade Cost Allocation

  - Lines—Share common segments pro rata by MW, unique segments covered by that DG provider

  - Other equipment—Share common upgrades pro rata by MW, unique upgrades by that DG provider

  - If one or more DG applicant drops out, then remaining applicant share any additional restudies required

  - If new DG added to circuit within 5 years, need to share costs from prior DG (consistent w/utility line extension policy) (some exemptions—e.g., Simplified?)

Operation and Maintenance Costs (JDR Note: I plan to drop this sub-heading unless the Group agrees to commit to looking at O&M in the future as part of a fuller exploration of the benefits and costs of DG, or one or more WG participant insists that they want to recommend that O&M should be recovered.)

Section 9: Other Technical Issues (including Upgrade Criteria and Standards)

- Upgrade Criteria and Standards (e.g., National Grid’s “Blue Book”) (from 7/19 Technical Subcommittee and amended on 8/7)

The Working Group recommends that utilities develop and make available upgrade criteria and standards manuals based on National Grid’s “Blue Book”, with the following recommendations:

  - Add information on  infrastructure/system modifications upgrade criteria

  - Update regularly (e.g., 2-5 years), w/DG provider input

  - Goal one statewide document, even if has to be some differences within that document among the utilities (for starters utilities reviewing NGRID document against their own guidelines and will highlight any substantive differences w/NGRID standards)

  - Meet regularly to discuss with stakeholders new technology, criteria and standards (e.g., monthly or quarterly)

  - For Sept. will have process laid out including schedule (identify any differences w/Grid; utility drafts; etc.)

Section 10: Other Issues (ADR, Applicant Training, Other???)

ADR Process

The Process Subcommittee (on 7/18) had a short discussion on the ADR process, which has not been used very often.  Subcommittee outlined types of problems that might need ADR type services:

- Missed timelines

- Upgrade costs/technical requirements

- Removal from queue

- Changing agreement terms

Subcommittee agreed to take a closer look at current ADR language, as well as straw proposal that DOER had put together for discussion.

Training

The group suggested changing the monthly “briefing” into more of a “training” that may or may not include some form of applicant certification. The trainings would provide an opportunity for applicants and utilities to interact, and could be a mandatory part of the application process. This could also link into an online application process that requires applicants to take and pass a “how to apply for interconnection” test before submitting the online application.

Section 11: Transition Strategy and On-Going Collaboration

Update to Transition Strategy for Adding Feeder Info to Monthly Utility Report

The Working Group recommends adding additional information to the utilities monthly reporting to DOER, as an interim measure prior to implementation of the Statewide Online Application and Tracking System.  Sequencing for populating the monthly reporting tracking spreadsheet with feeder identification information is as follows:

- All new complete applications (all tracks)—once utility knows the correct feeder, the number will appear in the report approximately 1 Month after— Starting with the August 2012  report

- All existing projects utilities touch—Starting August 2012 report

- All projects (in process or with authorization to interconnect) over 1 MW—for October 2012 report

(Note: No Timelines yet for the following (which could become moot once centralized tracking system is up and working.)

- All projects with authorization to interconnect (Expedited/Standard)  (October ??)

- All Standard projects

- All Expedited projects

- All Simplified Projects (not reported in monthly reporting at all now)

The Working Group also notes that NSTAR has voluntarily added two other columns to their monthly reporting: 1) Municipal, C/I, residential designation; and 2) Date they asked applicant for additional info.  The Group agreed that the new feeder number field should be three columns from the end of the existing report, so allow DOER to easily integrate the spreadsheets from all utilities.

Geographic Mapping

Add to list of things to work on post-Sept over next year?—accessible geographic mapping that will show feeders/circuits and DG activity (including names of sub-stations, circuits served)

Appendices

Appendix A: Working Group Membership and Participation

Appendix B: Redlined Interconnection Tariff (Is this achievable by 9/11?—Or List of Tariff Changes)

Appendix C: Outline of RFP for Online Application and Information Tracking System Consultant

Note: Emphasis in report will be on recommended changes to existing processes and tariff, and won’t need to restate everything else that will remain unchanged.  “New” and “Revised” designation just for WG review--won’t necessarily be in final report.