## Slide 1: End User Observations / Hypothesis Root Causes
MA DG Collaborative Working Group 6/13/12

## Slide 2: Overview
Projects 1MW +
Expectations and timelines
It is important to all stakeholders in our projects – Borrego, our customers, our financial partners - that the projects follow a transparent and consistent path and timeline throughout the project cycle.
The importance of this timeline is especially important given both the fast-changing SREC market and the annual shape of solar production; a delay from April to August can be seriously detrimental to the project's return.
Borrego Solar Systems

## Slide 3: Observations
Clear communication when one step has been completed, and the next step is starting. OR what is needed from the integrator to move on to the next step, automate? - Interconnection Timelines
Initial indication of circuit availability. This is incredibly helpful and prevents the issue of resourcing applications that might never get submitted. Pre-Application Screen/ NT-7 Uniformity/Adopting Best Practices
Reviewing our drawing and receiving comments on our submittal based on the utility standard (what is the background for the change the utility is requesting? Need that reference.) TC-5 Transparency/Uniformity
Borrego Solar Systems

## Slide 4: Observations
Impact Study Costs - How are these costs created? Aren't we supposed to get money back on the $5,000 deposit if it is all not used? We've seen a range on these studies between 5-40K+. TC-2 App. Fee Structure
Impact Studies are incomplete. Why are we going to the steps to deliver the relay settings and a detailed singleline (and all previous steps) if various groups are not going to comment on the project through the Impact Study? This creates the need for extended coordination after the Impact Study release date effectively lengthening the process timeline. TC-7 Clock Stopping Info Requests / Staffing
25% Cost Estimates. I cannot overstate the importance of this step. This is what allow us to know if we have a project that works financially or not. We do expect this cost estimate (to within 25%) at the time of the impact study. I understand that it would be difficult to provide that estimate if the study is not complete - see above. Every project we have hinges on this step. TC-1? Binding- the customer needs to be made whole if there are project requirements outside of those communicated previously on a project or outside the utility standards.
Borrego Solar Systems

## Slide 5: Observations
Consistent Messaging - We often get different direction from the local utility field team associated with our project once we are in construction. Following the direction of this utility representative should be acceptable to the home office. If not then we need to address the authority matrix or create a single point of contact throughout the project cycle.
Group the WO and construction timeline into the interconnection Process. The Service construction timeline is not part of the overall timeline in the tariff however the last few steps in the timeline are related to the construction being complete. This is inconsistent and causes a transparency issue when it comes to committing to a PTO date for the investor. TC-15 Construction Timelines
ISA – Because the signed Interconnection Service Agreement is now the key gating factor for assurance of net metering, it is now critical that the utilities standardize the tendering of the ISA, that it be available as soon as the work order is signed, and that both be ready as soon as the impact study, but at the latest upon delivery of the detail study.
Borrego Solar Systems

## Slide 6: Observations
Staffing - The interconnection process can be significantly strengthened partly through permanent administrative staff, a limited pool of utility engineering talent is only part of the problem.
Commitment/Accountability at all levels - Need employees dedicated to DG throughout the process. This a growing industry and things will change faster over the next 10 years than they have in the last 10. We need to be able to support a scaling industry.
Borrego Solar Systems