DRAFT COVER LETTER FOR REDLINE TARIFF

Date:  	October 31, 2012

To:	Mike Wallerstein, MA DPU

From:	Dr. Jonathan Raab, Facilitator

Re:	Redlined Tariff for DG Interconnection Standards

Attached please find both the redlined tariff comparing the pre-existing tariff with the tariff changes recommended by the DG Working Group in its 9/14 Report to the DPU entitled, Proposed Changes to the Uniform Standards for Interconnecting Distributed Generation in Massachusetts, and a clean copy.

During the translation process from the Report to the redlined tariff, the Working Group agreed to make a few additional small modifications to the proposed process that should make it clearer and more efficient. These include:

- Providing utilities some additional time for Impact studies when an Interconnecting Customer submits two or three generation options for their proposed facility.

- Clarifying that if a customer requests an extension of time when there’s less than 1/3 of the time left for the utility to complete the Impact Study that the utility can add an additional 1/3 of time when the project is restarted, if needed.

- Having construction costs valid for 60 days after the utility delivers the construction cost estimates  rather than from the signing of the ISA.

- An interim process for dealing with Impact Study timing when there are multiple applications on a single feeder, and agreement to look more carefully at this issue when the Working Group tackles a group study process during the transition period.

- The insertion of a 15kW maximum size screen in addition to the no more than 1/15 of minimum load screen for the new Simplified Network track for area networks. (The modified Simplified Network track for spot networks, would remain as proposed in the Report--only requiring no more than 1/15th of minimum load without any maximum size screen.)

- Revising Schedule Z to add customer information.  Note this was not part of the DG Working Group Report or negotiations, but is being provided by the distribution companies without opposition from the non-utility stakeholders.

For the one and only issue that the DG Working Group did not reach a consensus on, whether the new minimum load screen for the Expedited track should be 67% or 100%, both numbers are currently included in the tariff in Note 8 for Figure 1—with positions on both numbers in Attachment C of the Report.

Once the Department approves the redlined tariff, each of the distribution companies will file compliance tariffs consistent with the Department’s Order.

On behalf of the Working Group, I wanted to remind the Department that not all of the changes recommended in the Report are tariff related issues (and hence do not show up in the redlined tariff). However, all the issues in the Report are important to the Working Group, and we trust that the Department will put in place the proper process to evaluate and implement those recommendations as well.

Lastly, I need to emphasize as the facilitator/mediator that the package of recommendations in the Report and in the redlined tariff represent intensive negotiations, careful balancing of interests, and compromise.  Like any other settlement type process, support for various recommendations by different Working Group members was often closely tied to having garnered support on other recommendations.  The Department should exercise the same caution as they do with other settlement type processes as they evaluate the wisdom and workability of each individual piece, in the context of the entire package.