Cluster Studies – DGWG Proposal

Statement of Purpose

The DGWG has identified queued and “parked” projects as an area of potential improvement in the MA DG interconnection process. In current practice, an application that is “parked” has its timeline suspended while a preceding application works through the interconnection process. This leads to time frame uncertainty for the applicant, as well as performance and timeline compliance reporting complications for the utilities.

The DGWG has identified the Impact Study phase as the step that A) acts as the primary bottleneck for projects, letting only one through at a time, and B) is an opportunity to consolidate several applications into a single technical analysis, where each application must be carefully considered in the context of its neighbors anyway.

The hosting utility benefits from performing a single Impact Study, as opposed to revisiting the study on the same circuit. It helps present a more comprehensive look at how the system will be configured once all the proposed DG in the pipeline is interconnected. The customer benefits from timeline assurance, and potential savings in Impact Study costs, and distribution upgrades, through cost-sharing with co-applicants.

Objectives

Cluster studies describe a means of combining separate applications into a single System Impact Study with site specific issues identified for each applicant, without binding each respective applicant to the feasibility or completion of the other clustered projects. This proposal aims to outline a framework for forming and administering a group study for applications that are electrically dependent, in two main scenarios:

- Multiple applications on a single distribution circuit or other area of electrical commonality that are “parked” in the queue behind an ongoing Impact Study or Detailed Study

- Multiple applications whose project viability is co-dependent, and would benefit from cost sharing on substantial utility upgrades

- The applicants are combined in a cluster until the SIS phase is complete. Clustered applicants will pursue ISA's, detailed studies, construction, and final interconnection independently

- Members of the cluster retain independent application IDs, and are issued independent ISA's, costs for non-common upgrades, and construction schedules

- Members will pay their allocation of the Impact Study fees as a deposit for joining the cluster

- Applicants that elect not to pay the deposit will not be included in the study, and will be withdrawn without refund, and will be forced to reapply

- Cluster study timelines for the SIS and Detailed Study phases will be mutually agreed upon

- All one-time customer extensions outlined in the Tariff are suspended for the duration of the cluster study

Electrical Dependence

- Electrical dependence shall be defined per utility, as each utility will ultimately determine the potential size of a cluster, and will have to manage its resources to accommodate these clusters (e.g. a utility that defines electrical dependence on the substation level will drive larger clusters, therefore the studies will be more involved)

- In general, electrical dependence is triggered when the outputs of two or more applications can be combined at any point on the distribution or sub-transmission system. This includes:

  - Applications on the same feeder

  - Applications on adjacent feeders served by a common substation bus, whose total capacities exceed the minimum feeder load in any season (at which time the outputs would be combined at the substation bus)

Discrete Cluster Window – Queued Projects

- Once an application queue has been established in an area of electrical commonality (see Electrical Dependence), a cluster study option will become available

- A discrete cluster study window will be initiated for the duration that leading project is being studied

  - Example: While Project A is in study, an application for Project B is submitted

  - A discrete cluster window opens in that area for the duration of Project A’s study

  - An application submitted for Project C will be eligible for a Cluster Study with Project B

Clusters Pre-Impact Study

- Two electrically dependent applications in the pre-Impact Study Tariff steps initiate a cluster

- The queue position (relative to applications elsewhere on the system) of the group shall be the queue position of the leading application, given that all group members have met all the requirements of moving to the Impact Study phase

- The timelines for the leading application shall not be delayed or extended to accommodate potential group members, unless mutually agreed upon. In the event that a potential group member has not provided payment, technical information, or other requirement, they will not be eligible for the Custer Study

Results and Operations

- If there is a available capacity on the circuit, but all projects cannot be accommodated, Project A will be given preference to the capacity. (i.e. Project A can reduce its size to the available capacity)

- If any cluster study applicant makes significant or moderate change during SIS, the study will follow the significant and moderate path defined in the Tariff

- If any cluster study applicant decides not to move forward after the SIS is completed, the SIS must be revisited. The timeline to revisit the cluster study will be by mutual agreement

Cost Allocation

- Impact Study Cost will be allocated pro rata, by project size in kW

- Upgrade Cost Allocation

  - Line Extension costs will be divided evenly over the cluster members for common line segments. Unique line segments will be the responsibility of the cluster member served by that segment. DG applications that are installed on the new line segments within two years will be subject to retroactive cost-sharing. The two-year cost sharing window will be benchmarked by the execution of the ISA. New applicants through the Simplified Track process are exempt from this requirement

  - Retroactive cost-sharing will not be awarded in the event that the site has changed ownership

  - Substation protection, reconductoring, and other equipment size-dependent costs will be divided pro rata by MW

  - Unique upgrades by the applicant by which the upgrade is triggered

  - If one or more DG applicants drops out, then remaining applicants share any additional restudy costs required. Deposits are not refunded, instead the deposit will be credited towards any restudies required for the remaining applicants

  - If there are common costs, all upgrade costs must be paid before construction can begin

  - If there are no common costs, each individual cost must be paid before that application’s construction can begin

  - If there is a mix of common and non-common costs, payment must be issued for all common costs before the relevant construction can begin. However, construction for non-common costs can begin once those payments are collected