|  | Mass. | SGIP (dist. sys.) | Arizona | Proposed Rule 21 (CA) | SCE WDAT/PG&E WDT (dist.) | Rule 14H (HI) |
| --- | --- | --- | --- | --- | --- | --- |
| Std. Process Initial Review | 20 business days |  |  |  |  | 150 calendar days for entire study process (IRS) |
| Feasibility Study |  | 30 business days | 20 business days |  |  |  |
| System Impact Study | 55 business days | 30 business days | 30 business days | 90 calendar days PG&E = 60 business days | SCE = 90 calendar days PG&E = 60 business days |  |
| Facilities Study aka Detailed Study | 30 business days | No upgrade = 30 business days; Upgrades = 45 business days | 30 business days | 90 calendar days PG&E = 60 business days | SCE no upgrades = 60 calendar days SCE upgrades = 90 calendar days PG&E = 60 business days |  |