## DGWG Structure Outline
| Item Title | Item | Description | Potential Type of Action Needed
MA DG Working Group Potential Issues List
Adapted from October 28, 2011 DOER et al filing Attachment A
By Jonathan Raab, Facilitator (6/11/12)
| Topic | Origin | Description | Change Agent
Process Issues and Timelines
| Set Timelines | TC-1 | 1. Timelines- Establish how long it should take the utilities to process an interconnection application in the best of circumstances, with adequate staffing, and then establish binding timelines for the interconnection process. (DOER/KEMA) | Tariff Change | Chess-clock to measure time delay
| Outsourcing | NT-6 | Non-Tariff Changes #6: Establish a "Developer Accreditation" or "Certified Developer" process that would allow quicker interconnection timelines. (developer) | Utility/DG Customer Action
| Accelerated Track | TC-14 | 14. Accelerated Track- Provide an option for an accelerated track for those willing to pay. (utility/developers) | Tariff Change
| Initial Sorting Screens | JDR/Cluster Mtgs. | Consider whether adjustoments should be made to screens determining which projects go thru which track (size, technoligy, less than 7.5% of circuit screen) | TBD
| Additional Track for Very Large Projects | JDR/Cluster Mtgs. | Consider adding an additional track for very large projects or projects with substantial export compared to on-site load | TBD
| Advance Info / Scoping Session | NT-4 | Non-Tariff Changes #4: Process Awareness: Require the utilities to collect and publish information to optimize results of DG site selection, with specific attention given to recommendation 3.5 on pages 120-121 of the KEMA report. (DOER/KEMA) | Utility Action
| On-Line Application | TC-4 | 4. On-Line Application- Revise the tariff to mandate the creation of a uniform on-line interconnection application system consistent with recommendation 3 on pages 118-121 of the KEMA report. (DOER/KEMA) | Tariff Change
| Clock Stopping - Info Requests | TC-7 | 7. Application Process – Reduce delays from requests for additional information; establish all information required up front. (DOER/KEMA) | TBD
| Workshop Checkbox | TC-9 | 9. Interconnection Application– Ask applicants: “Have you attended a DG Workshop?” (utilities/DOER) | Tariff Change
| Optional Detailed Cost Study | TC-13 | 13. Optional Detailed Cost Study- Make the Detailed Study optional for those willing to waive estimate with accuracy within 10%. (utility) | Tariff Change
| Construction Timelines | TC-15 | 15. Construction Timelines- Add post-agreement steps in the tracking of timelines – Construction / Upgrades. Make case-by-case timing of construction in interconnection agreements binding. (DOER) | Tariff Change
| Uniformity / Adopting Best Practices | NT-7 | Non-Tariff Changes #7: Ensure procedures are uniform across utilities, particularly adopting the best practices of each. (developer) | Uitlity Action
| Cleaning Up the Queue | JDR/Cluster Mtgs. | Develop processes and procedures for removing stale projects from the queue | TBD
| Ombudsperson/ADR | NT-1 | Non-Tariff Changes #1: Process Assistance / Dispute Resolution: Hire an ombudsperson at DPU who will hear and quickly resolve interconnection disputes between developers and utilities. (DOER/KEMA) | DPU Action | Process to escalate at utilities before ADR
| ADR | TC-8 | 8. Alternate Dispute Resolution- Make consistent with new ombudsperson role. (DOER/KEMA) | Tariff Change
| Communications |  | Improve communications on project status/timelines between utility and developer, standardize and protocols
| Reporting | NT-3 | Non-Tariff Changes #3: Process Awareness: Require the utilities to increase reporting of certain interconnection project tracking data. (DOER/KEMA) | Utility Action
| Address Typos | TC-10 | 10. Fix typos in the Interconnection Agreement. (utilities/developers) | Tariff Change
| Export vs Non-Export facilities |  | Separate track/requirements for export and non-export facilities
| Education |  | Enhance DG and End User Education about interconnection process--esp for application phase
| Witness Test |  | Standardize witness test process, and clarify Witness Test language in tariff
Site control requirements?
Fees, Costs, Incentives/Penalties
| App. Fee Structure | TC-2 | 2. Fees- Establish what it would cost the utilities to provide interconnection services that meet those timelines and determine if utilities are currently under-collecting. (DOER/KEMA) | Tariff Change
| Simplified Track Fee | JDR/Cluster Mtgs. | Consider adding fee for simplified track applications | TBD
| Penalties/ Incentives | TC-3 | 3. Penalties/Incentives- Design an incentive structure that encourages the utilities to engage the appropriate staffing to meet these newly-established timelines. Among the incentives considered should be increased application and interconnection fees, penalties for failing to meet the timelines and creating incentives within Service Quality metrics. (DOER/KEMA) | Tariff Change/DPU Action
| Insurance | TC-11 | 11. Insurance Requirements - Prohibit requirements for additional insurance (DOER/IREC) | Tariff Change
| Tax Markup | TC-17 | 17. Interconnection Costs- Review requirement of the tax markup on upgrades for public entities. (customer) | Tariff Change
| Upgrade Costs | TC-18 | 18. Upgrade Costs- Analyze benefits provided by installed DG and required upgrades. Revise standard to accommodate cost sharing. (developer) | Tariff Change
| Circuit Queues | TC-16 | 16. Circuit Queue- Establish a protocol to handle a queue of multiple projects on one circuit. Address cost sharing, identification of parties, standard for cancellation, formalize rationale for capacity limits at substations. (utility) | Tariff Change
| On-Going Costs |  | On-going property tax, on-going maintenance of DG-related equipment (meters, reclosers), and capital costs by utility
Technical Issues
| External Disconnect | TC-12 | 12. External Disconnect- Prohibit the use of a redundant external disconnect switch (DOER/IREC) | Tariff Change
| MicroGrid | TC-20 | 20. Intentionally islanded distribution systems (microgrids)- Revise the tariff to require utilities to address microgrids. DOER to lead collaboration to make interconnection consistent with IEEE 1547.4 (now approved); review and enhance monitoring efforts; research other jurisdictions (including international progress) (developer) | Tariff Change
| Area Networks | TC-6 | 6. Area Networks- Revise the tariff to require utilities to address area networks. DOER to lead collaboration to make interconnection consistent with IEEE 1547.6 (now approved); review and enhance monitoring efforts; research other jurisdictions (including international progress) (DOER/KEMA) | Tariff Change
| New Technologies | NT-8 | Non-Tariff Changes #8: Investigate utility upgrade requirements to determine less expensive and equally effective configurations (particularly for projects <250 kW). (developer) | Tariff Change
| Transparency/ Uniformity | TC-5 | 5. Upgrade Standards- Require the utilities to establish transparent criteria for what triggers the requirement of various system upgrades paid for by interconnecting customers, and a formal process by which the utilities update the criteria. (DOER/KEMA) | Uitlity Action
| Circuit Queues | TC-16 | 16. Circuit Queue- Establish a protocol to handle a queue of multiple projects on one circuit. Address cost sharing, identification of parties, standard for cancellation, formalize rationale for capacity limits at substations. (utility) | Tariff Change
| ISO vs State | NT-5 | Non-Tariff Changes #5: Process Awareness: Convene Working Group to clarify/document guidance for ISO vs. state interconnection (DOER to lead) (DOER/KEMA) | Report
| Workshops | NT-2 | Non-Tariff Changes #2: Collaboration: Require the utilities to continue ongoing collaborative efforts with DOER, including the new technologies working group, interconnection workshops, and other efforts that DOER may direct. (DOER/KEMA) | Utility Action
| List Info Required | TC-19 | 19. Establish a uniform list of project documentation required at the following stages (a) application, (b) construction completion, (c) witness test. (DOER/KEMA/developer) | Tariff Change
| Guidebook | NT-9 | Non-Tariff Changes #9: Develop a Guidebook for "MA DG Installers" consistent with an approach used in NY state. (developer) | Utility/DG Customer Action
| Initial Sorting Screens | JDR/Cluster Mtgs. | Consider whether adjustoments should be made to screens determining which projects go thru which track (size, technoligy, less than 7.5% of circuit screen) | TBD
Separate track/requirements for export and non-export facilities
T&D Benefits from DG